Kapaloski, Kinghorn & Alder
Attorneys at Law
10 Exchange Place, Suite 1000
Salt Lake City, Utah 84111

Steven F. Alder                                                                        Telephone 801-361-8644
Lee Kapaloski
Gerald H. Kinghorn

File Memorandum

Re: Water System Development, Lakes and Lands
       Surrounding Lakes and Water Courses


        This memorandum compiles the verbal discussions, draft written agreements,
engineering and planning discussions and response to various requests to June
9, 1981.  The purpose of this memorandum is to provide a single document for
reference of SSD, SSI, Dale Perkins, Mike Hardman, Jim Webster, George Triggs,
Roland Palmer and Dick Pearce.

Water Distribution System
        Two separate water distribution systems exist; a potable system for high
quality indoor use and an irrigation system for outdoor lawn watering.  State
law prohibits the cross connection of the potable and irrigation systems.  –
No physical connection between the systems should exist.  The legal prohibition
will become effective when the irrigation system is placed in operation.  Until
the irrigation system begins to draw water from the storage pond temporary
outdoor service may be allowed from the potable system, but all temporary
connections can be disconnected before the irrigation system begins to draw
water from the storage lakes.  The potable system will be contaminated if all
cross connections are not disconnected.  No backflow preventers should be used,
special attention must be directed to the school since they apparently have a
sprinkler system that is connected to the potable system.

        During this summer service can be temporarily supplied to irrigation systems by
providing a temporary line between the irrigation system of each lot and common
area to the Silver Springs Water Company distribution main lines.  For the
present consumers can use unmetered water for outside irrigation under this
arrangement.  All such temporary connections must be removed by October 15,
1981.

        Each metered connection should be checked after all temporary connections are
removed.  The following procedure should be used.

1.        Notify the customer of the system test.
2.        Turn on all sprinklers in the irrigation system.
3.        Shut off the water at the meter.  If the proper connection was made to the
sprinkler system from the distribution main, the sprinkler should be on.
4.        Find and disconnect the sprinklers from the distribution main.
5.        Plug the main connection and the end of the sprinkler line.
6.        Turn on the water at the meter.
7.        If the sprinkler is working, a cross connection exists to the potable water.
8.        Find, disconnect and plug any cross connection between the house/unit potable
system and the irrigation system.
9.        Connect sprinkler line to irrigation system.
10.        Mark all taps with red paint.
11.        Do not permit irrigation service if taps do not have a removable handle.

Silver Springs Water Company is responsible for the installation of all
collection, storage and distribution facilities to the point of the property
boundary between public roads and private common areas, lots and units and for
the inspection of each irrigation system to insure that cross connections are
removed.  Silver Springs Water Company personnel should also paint all taps of
the irrigation system red the first time to insure that all taps are adequately
marked.

SSD has contracted with Silver Springs Water Company to manage, contract for,
and finance the construction of the system.

Each Builder is responsible for construction of the system from the property
line to each common area, residential or unit point of use.  Each builder is
also responsible for the portion of common main lines across his property to
other private properties as required by the consortium master plan for the
systems.

Palmer-Wilding will be responsible for modifications to the master plan and
training Silver Springs Water Co. personnel to inspect and test lines before
trenches are backfilled.  Palmer-Wilding will also provide construction specs
for lines.

Each property owner and Homeowners Association will be responsible for the
disconnection of temporary cross connections between the potable and irrigation
systems prior to supplying the irrigation system from the storage lake.  Each
owner must notify Silver Springs Water Company when the irrigation cross
connections have been removed and the system is ready for inspection.

Silver Springs Water Company must know where each cross connection is located
and must inspect to make certain each cross connection is disconnected prior to
using untreated water in the irrigation system.

Ponds, Water Courses and the Lake

        For the purposes of this memo only, an exhibit has been prepared to identify
each pond.  The names are derived from the name of each source.

1.        W.C.#1 – a small aesthetic and sediment control pond or basin on Willow
Creek surrounded by the condo/townhouse being built by George Gamble.  No body
contact, recreation, boating or other sports allowed – no facilities to be
developed.
2.        W.C.#2 – a larger pond downstream from W.C.#1 on Willow Creek operated as a
flood control surge basin, sediment pond and aesthetic feature between the Fry
and Utah House townhouses.  No body contact or boating sports allowed – no
facilities to be developed.
3.        S.S.#1 – a small sediment pond on Silver Springs Creek near the entrance to
Silver Springs.  No sports, body contact, recreation or facilities.
4.        S.S.#2 – a larger sediment and flood control pond on Silver Springs Creek
downstream from S.S.#1.  No sports, body contact or facilities to be developed.
5.        Silver Willow Pond – a large aesthetic, irrigation storage and flood
control pond which is the receiving water for Silver Springs Creek and Willow
Creek.

Silver Willow pond will have no recreation facilities and no body contact or
boating sports will be allowed.  No fishing will be allowed.  All the land
around the pond and water courses above the buffer and flood control area will
be controlled by the townhouse Homeowner’s Association.  The water surface of
Silver Willow pond will fluctuate annually from 6-10 feet.  The pond will be
full in the spring and early summer and will gradually be lowered to provide
irrigation water to the area.  Irrigation demand is normally highest from July
15 to September 30.  A free board between the water surface and the spill
elevation of the banks will be maintained in the winter.

        Some future use of the pond for ice skating may be possible depending on
operational experience with the pond and p decisions between the condo
Homeowners Association and Silver Springs Water Co.

        Insurance premiums for the water company will be heavily dependent on the
amount and type of use permitted and the risks associated with each proposed
use.

6.        Silver Willow Lake – is a medium size irrigation storage, flood control and
aesthetic feature downstream from Silver Willow pond.  No body contact sports
facilities such as a beach, changing rooms, slide, diving boards or swimming
area will be constructed and no body contact sports are allowed.  A grassy area
and small docks will be provided for launching small (less than 13 ft.) boats
and paddlecraft.  No motorized water craft will be permitted.  Fishing may be
permitted IF appropriate management criteria are developed.

Silver Springs Water Company will own and control the lake and surrounding
recreation facilities.  All use of the lake will be dependent on regulations
and use agreements between the Homeowners Associations and Silver Springs Water
Company.
Insurance premiums will be heavily dependent on the uses permitted and the
degree of management control of the facilities exercised by Silver Springs
Water Col
Each pond and the lake are owned and controlled by Silver Springs Water Company.
 A property line will be staked showing the buffer area [Enjoyment Easement]
around the lake and ponds (approx. 25ft.) and on either side of each water
course.

Silver Springs Water Co. owns and controls each pond, the lake, each water
course and surrounding lands.  In the townhouse common areas and the commercial
area, Silver Springs Water Company will contract with the Homeowners Association
for maintenance of the buffer areas around the ponds and the water courses.

Silver Springs Water Company will be responsible for landscaping and maintenance
of water course areas through the common area around Silver Willow Lake, through
the single residence subdivision and adjacent to the State Highway.

The Homeowners Associations and Silver Springs Water Company will meet as
necessary and enter into appropriate agreements for the maintenance, control
and use of each water related facility.

Each Builder is responsible for meeting the construction specs developed by
Silver Springs Water Co. in the construction of lines and grading water courses
and buffer areas.

The Townhouse Homeowners Associations will maintain the pond buffer areas around
each pond and the water courses within the common areas controlled by each
association.

The Commercial area is not fully planned; maintenance will depend on final
decisions as to the ownership of each parcel and the existence or non-existence
of owners  associations with a likelihood of maintenance responsibility.